## GeneXpert results Sanitised
,GeneXpert Dx System
System Name,MOH - NMRL - 803398 GeneXpert PC
Exported Date,04/05/14 21:00:56
Report User Name,xxxx xxxxx	Analyst (ignore, repeated individually lower down)

ASSAY INFORMATION
Assay,Xpert MTB-RIF Assay G4
Assay Version,5
Assay Type,In Vitro Diagnostic
Need Lot Specific Parameters,On
Reagent Lot Number,124	Reagent ID (ignore, repeated individually lower down)
Assay Disclaimer,For In Vitro Diagnostic Use Only.

RESULT TABLE

Sample ID,xxxxxx	AR ID
Patient ID,xxxxxx	Patient ID
Test Type,Specimen	Sample Type
Sample Type
Assay,Xpert MTB-RIF Assay G4
Assay Version,5
Assay Type,In Vitro Diagnostic
User,xxxxxx xxxxxx	Analyst
Status,Done	Analysis State
Notes
Start Time,28/04/14 21:18:08
End Time,28/04/14 23:00:05	Analysis Date Time
Error Status,OK
Reagent Lot ID,12411	Reagent ID
Expiration Date,09/11/14
Cartridge S/N,213037135	Reagent Cartridge Serial number
Module Name,B1	Instrument Title
Module S/N,632963	Instrument Module Serial number
Instrument S/N,803398	Instrument Serial number
S/W Version,4.4a

Test Result,MTB NOT DETECTED	Analysis Result
Test Disclaimer,For In Vitro Diagnostic Use Only.

Test and Analyte Result
Analyte Name,Ct,EndPt,Analyte Result,Probe Check Result	Interim Results Titles
Probe D,0.0,0.0,NEG,PASS	Interim Results Set 1
Probe C,0.0,1.0,NEG,PASS	Interim Results Set 2
Probe E,0.0,-1.0,NEG,PASS	Interim Results Set 3
Probe B,0.0,3.0,NEG,PASS	Interim Results Set 4
SPC,27.3,294.0,PASS,PASS	Interim Results Set 5
Probe A,0.0,1.0,NEG,PASS	Interim Results Set 6
QC-1,0.0,0.0,NEG,PASS	QC results
QC-2,0.0,0.0,NEG,PASS	QC results

Probe Check Details
Analyte Name,Prb Chk 1,Prb Chk 2,Prb Chk 3,Probe Check Result	Interim Results Titles
Probe D,71.2,139.4,69.2,PASS	Interim Results Set 1
Probe C,182.8,336.2,177.6,PASS	Interim Results Set 2
Probe E,119.4,493.2,116.0,PASS	Interim Results Set 3
Probe B,67.4,146.5,65.4,PASS	Interim Results Set 4
SPC,160.0,450.1,148.6,PASS	Interim Results Set 5
Probe A,120.3,184.3,117.4,PASS	Interim Results Set 6
QC-1,50.8,50.8,51.0,PASS	QC results
QC-2,87.8,87.6,87.4,PASS	QC results

Melt Peaks
<Not applicable>

ERROR
<None>

Messages
<None>

History
<None>

	Then repeats

RESULT TABLE

Sample ID,xxxxxx xxxxxx
Patient ID,xxxxxx
Test Type,Specimen
Sample Type
Assay,Xpert MTB-RIF Assay G4
Assay Version,5
Assay Type,In Vitro Diagnostic
User,xxxxxx xxxxxx
Status,Done
Notes
Start Time,24/04/14 00:52:48
End Time,24/04/14 02:34:53
Error Status,OK
Reagent Lot ID,12411
Expiration Date,09/11/14
Cartridge S/N,213037103
Module Name,B4
Module S/N,632959
Instrument S/N,803398
S/W Version,4.4a

Test Result,MTB NOT DETECTED
Test Disclaimer,For In Vitro Diagnostic Use Only.

Test and Analyte Result
Analyte Name,Ct,EndPt,Analyte Result,Probe Check Result
Probe D,0.0,-4.0,NEG,PASS
Probe C,0.0,0.0,NEG,PASS
Probe E,0.0,-5.0,NEG,PASS
Probe B,0.0,0.0,NEG,PASS
SPC,25.8,243.0,PASS,PASS
Probe A,0.0,0.0,NEG,PASS
QC-1,0.0,0.0,NEG,PASS
QC-2,0.0,0.0,NEG,PASS

Probe Check Details
Analyte Name,Prb Chk 1,Prb Chk 2,Prb Chk 3,Probe Check Result
Probe D,74.1,148.8,73.0,PASS
Probe C,123.9,233.5,121.4,PASS
Probe E,89.2,394.0,86.9,PASS
Probe B,67.4,140.1,66.8,PASS
SPC,118.1,316.0,111.2,PASS
Probe A,105.5,161.6,104.1,PASS
QC-1,60.6,60.0,60.3,PASS
QC-2,77.8,77.7,77.4,PASS

Melt Peaks
<Not applicable>

ERROR
<None>

Messages
<None>

History
<None>

RESULT TABLE

Sample ID,xxxxxx xxxxxx
Patient ID,xxxxxx
Test Type,Specimen
Sample Type
Assay,Xpert MTB-RIF Assay G4
Assay Version,5
Assay Type,In Vitro Diagnostic
User,xxxxxx xxxxxx
Status,Done
Notes
Start Time,24/04/14 00:51:45
End Time,24/04/14 02:33:15
Error Status,OK
Reagent Lot ID,12411
Expiration Date,09/11/14
Cartridge S/N,213037120
Module Name,B3
Module S/N,632958
Instrument S/N,803398
S/W Version,4.4a

Test Result,MTB NOT DETECTED
Test Disclaimer,For In Vitro Diagnostic Use Only.

Test and Analyte Result
Analyte Name,Ct,EndPt,Analyte Result,Probe Check Result
Probe D,0.0,-1.0,NEG,PASS
Probe C,0.0,-2.0,NEG,PASS
Probe E,0.0,-3.0,NEG,PASS
Probe B,0.0,0.0,NEG,PASS
SPC,25.9,268.0,PASS,PASS
Probe A,0.0,1.0,NEG,PASS
QC-1,0.0,0.0,NEG,PASS
QC-2,0.0,0.0,NEG,PASS

Probe Check Details
Analyte Name,Prb Chk 1,Prb Chk 2,Prb Chk 3,Probe Check Result
Probe D,97.2,195.3,95.6,PASS
Probe C,148.9,283.9,146.6,PASS
Probe E,112.5,493.4,110.6,PASS
Probe B,77.8,161.2,76.4,PASS
SPC,146.4,408.2,139.1,PASS
Probe A,104.9,155.6,103.1,PASS
QC-1,71.4,70.8,70.1,PASS
QC-2,78.3,78.1,77.8,PASS

Melt Peaks
<Not applicable>

ERROR
<None>

Messages
<None>

History
<None>